Inflow and Infiltration, LMC Model Ordinance

League models are thoughtfully developed by our staff for a city’s consideration. Models should be customized as appropriate for an individual city’s circumstances in consultation with the city’s attorney. Helpful background information on this model may be found in the Sanitary Sewer Toolkit Information Memo.

This icon marks places where the city must customize the model. They offer additional provisions, optional language, or comments for your consideration. The icon, and language you do not wish to include, should be deleted from this model before use. Make other changes, as needed, to customize the model for your city.

ORDINANCE NO. _____

AN ORDINANCE FOR THE REDUCTION OF CLEAR WATER IN THE SANITARY SEWER SYSTEM

The City Council finds that the discharge of water from roof, surface, groundwater, sump pump,

footing tile or swimming pool, or other natural precipitation into the municipal sanitary sewer

system has the potential to cause property damage and overload the municipal and regional sanitary sewer systems. The City Council therefore finds it essential for the maintenance of health, minimization of property damage, and to maintain the life and capacity of the wastewater treatment system that the provisions of this ordinance be strictly enforced.

The City Council of _____, Minnesota ordains:

Section 1: Applicability

This ordinance shall apply to all water entering the sanitary sewer system unless explicitly exempted by the City. The City and its representatives are authorized to administer, implement, and enforce the provisions of this ordinance.

Section 2: Definitions

For the purpose of this Ordinance, the following terms are defined:

Clear water means storm water, natural precipitation, melting snow, ground water, roof drainage, ground surface and subsurface drainage, down spout, yard drain, sump pump, foundation drain, yard fountain, pond, swimming pool, cistern overflow, or any other water that is not required to be treated by state or federal law. Swimming pool water that is required to be treated in accordance with city, county or state regulations shall not be considered clear water.

Sewer service lateral means all sewer service pipes that extend from the municipal sewer main to the structure that it serves.

Section 3: Compatibility with Other Regulations

This ordinance is not intended to modify or repeal any other ordinance, rule, regulation, or other

provision of law. The requirements of this ordinance are in addition to the requirements of any

other ordinance, rule, regulation, or other provision of law, and where any provision of this

ordinance imposes restrictions different from those imposed by any other ordinance, rule,

regulation or other provision of law, whichever provision is more restrictive or imposes higher

protective standards for human health or the environment shall apply.

Section 4:  Prohibition Against Discharge into the Sanitary Sewer System

No person shall discharge or cause to be discharged into the municipal sanitary sewer collection

system, or infiltrate into the sanitary sewer system any clear water because of a sump pump, defective plumbing, a defective sewer service lateral or by any other means.

Section 5: Sump Pump Regulation

Any dwelling, structure or building that has a sump pump discharge system to remove groundwater from its foundation drain must have a permanently installed discharge line.

A “permanently installed discharge line” shall be one which provides for year-around discharge

capability to either the outside of the dwelling, building or structure, or is connected to the City

storm sewer. It shall consist of a rigid discharge line, without valving or quick connections for altering the path of discharge and, if connected to the City storm sewer line, include a check valve. It shall not be capable of connection or reconnection to the municipal sanitary sewer system.

Section 6: Inspection

By _____, every person owning improved real estate, or contractors and builders who are building a structure connected to the City’s sanitary sewer system, shall obtain an inspection of each building located on such property by an inspector designated by the City. The purpose of this city inspection shall be to confirm that there is no prohibited discharge into the municipal sanitary sewer system.

Insert date in the blank space.  Cities should choose a date that is far enough out from the passage of the ordinance that will allow city staff reasonable time to inspect properties. Cities may choose to have inspections done at the time of sale or have time of sale inspections be the only required inspection.

This inspection requirement may also be met by having the property owner contract with a

licensed plumber to perform the inspection. The plumber must inspect the property’s sump

pump, sewer service lateral, and groundwater drainage system, and upon completion, return an inspection form provided by the City documenting the results of the inspection. All costs associated with an inspection by a privately retained plumber shall be the responsibility of the property owner.

Cities may choose to be more specific as to how inspections are performed, and how sewer service laterals are inspected.

Cities may also choose the length of certification, based on whether the certificate of compliance would be issued for regular inspections or at point of sale. Optional text includes:

Unless the property owner already has a valid certificate of compliance issued by the City for the property, the owner or owner’s representative is required to  complete an inspection and obtain a certificate of compliance issued by the City before such property is offered for sale, gifted or transferred, and before the owner or owner’s representative enters into any contract for deed or other transaction changing the party responsible for the property.

A certificate of compliance shall be issued by the city upon successful completion of an inspection. A certificate of compliance shall be valid for ten years.

-OR-

The owner or owner’s representative is required to complete an inspection and obtain a certificate of compliance issued by the City before such property is offered for sale, gifted or transferred, and before the owner or owner’s representative enters into any contract for deed or other transaction changing the party responsible for the property.

A certificate of compliance shall be issued by the City upon successful completion of an inspection. A certificate of compliance shall be valid until the property is again offered for sale, gifted or transferred, and before the owner or owner’s representative enters into any contract for deed or other transaction changing the party responsible for the property.

Section 7: Corrections

Upon notice that the discharge of clear water on a property is not in compliance with this ordinance, the owner or occupant of the property shall cease from discharging clear water in violation of this ordinance and shall make the necessary repairs and corrections to discharge the clear water in accordance with this ordinance. Discharge of clear water in compliance with this ordinance shall be completed within _____ days of the date of notice of noncompliance, or as determined by the public works director. A second inspection of the property will be completed after _____ days following the notice of noncompliance.

Cities should keep in mind the extent of repairs and weather conditions when establishing completion days for repairs. Suggestion 90 – 365 days.

Section 8: Violations

A monthly surcharge in an amount duly adopted by the City Council and set forth in the City’s fee schedule shall be assessed against any property on which clear water is discharged in violation of this ordinance. The monthly surcharge will be charged on the property’s municipal utility billing statement if one or more of the following conditions apply: (1) an inspection as required herein has not been allowed by the property owner or occupant or a certificate of compliance has not been issued by the city within _____days after the city’s notice of inspection; (2) the property owner or occupant fails to make the sewer line cleanout readily available for the inspection; (3) the necessary corrections have not been made within the time specified; and (4) the property owner or occupant reconnects a clear water discharge line to the municipal sanitary sewer system after it has been previously disconnected at the city’s or a court’s direction. A surcharge will be assessed for every month during which the property is not in compliance.

Section 9: Temporary Waivers

The City may grant a temporary waiver from the provisions of this section where strict enforcement would cause a threat of damage or harm to other property, the environment, or public safety because of circumstances unique to the individual property or due to weather conditions. A written request for a temporary waiver must be first submitted to the public works director specifying the reasons for the temporary waiver.

Note: Cities may wish to have waiver requests go through the city clerk, city administrator, city manager, or some other position.

If a temporary waiver is granted, the property owner shall pay an additional fee for sewage service charges based on the number of gallons discharged into the City's sanitary sewer system as estimated by the public works director.

The public works director may set conditions to the temporary waiver. The public works director may terminate the temporary waiver upon a failure to comply with any conditions imposed on the temporary waiver. The public works director must give a five-day written notice of the termination to the property owner and occupant setting forth the reasons for the termination. After expiration or termination of a temporary waiver, the property owner shall comply with the provisions of this ordinance.

Section 10: Appeals

Applications for appeal of any administrative determination made pursuant to this Ordinance shall be addressed in writing to the city administrator within 30 days of the determination.

Cities may wish to designate a different official to receive requests for appeals.

Applications shall at a minimum identify the property for the appeal is sought, the name of the property owner, and describe in detail the determination which is being appealed. Within 60 days of receipt of the application, the City Council shall make its decision on the matter and send a written copy of such decision to the property owner by mail.

Section 11: Severability and Validity

The provisions of this ordinance are hereby declared to be severable. If any provision, clause,

sentence, or paragraph of this ordinance or the application thereof to any person, establishment,

or circumstances be declared by a court of competent jurisdiction to be invalid, such invalidity

shall not affect the validity of other provisions or application of this ordinance.

Passed by the City Council of _______, Minnesota this _____ day of Month, Year.

___________________

Mayor

Attested:

____________________

City Clerk